ENGINEERING SPECIFICATIONS

ParkPlus 10X Barrier

# SECTION 08 34 56 – Security Gates

# SECTION 11 12 33 – Parking Gates

# SECTION 28 13 00 – Access Control

# SECTION 34 71 13 – Vehicle Barriers

## PART I – GENERAL

  - SECTION INCLUDES

This section covers the furnishing and installation of a rising barrier for parking areas.

  - REFERENCES

        - The rising barrier shall be compliant with EC standards.

  - SYSTEM REQUIREMENTS

        - The rising barrier must control and restrict vehicle traffic between secured and unsecured zones

        - Must feature rising arm to block vehicles and prevent access to restricted areas without authorization.

        - Must remain the vertical (up position), and the horizontal (down position) by sending power when the arm is open manually by fraud or wind

        - Must be able to automatically operate and must be bidirectional, allowing traffic in both directions.

Must be configurable in one of three (3) states:

Open - arm remains in the open or up position.

Closed - arm remains in the closed or down position.

Automatic - arm is normally in the closed position and controlled by the associated entry/exit hardware.

Must be able to use the access control system to grant or deny access to the facility and operate with a variety of user authentication devices such as card reader devices, ticketing systems or barcode reader systems.

Must automatically open in case of power failure

The arm must be made of aluminum.

Barrier’s arm must offer a swing-off option to avoid damage to the arm mechanism if an impact occurs.

Design of the unit must provide visual notification option for intuitive process.

  - SUBMITTALS

        - Submit product data: equipment description, dimensions, electrical wiring diagrams for installation, and manufacturer's technical manuals on each product to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

Operation and maintenance manuals.

Provide shop drawings and indicate component connections and location, anchorage methods and location, and installation details.

  - DELIVERY, STORAGE AND HANDLING

        - Deliver equipment to job site in manufacturer’s packaging, undamaged and complete with installation instructions.

Store indoors in a controlled environment, protected from construction activities and debris.

  - PROJECT/SITE CONDITIONS

        - Install the rising barrier for parking areas on leveled concrete base.

  - QUALITY ASSURANCE

        - The rising barrier must be manufactured in the European Union

Manufacturer Qualifications:

Manufacturer shall be a company specialising in designing and manufacturing rising barriers with a proven minimum experience of forty-five (45) years

Manufacturer shall have a Quality Management System compliant with ISO 9001

Source Limitations: obtain the rising barrier for parking areas from Automatic Systems.

###### WARRANTY

        - Automatic Systems warranties its products against parts defects for a period of two (2) years from the date of invoicing. This warranty excludes normal wear on finishes or damage that occurs due to abuse or misuse. Obtain full warranty terms from Automatic Systems.

## PART II – PRODUCTS

  - MANUFACTURERS

        - Manufacturers: subject to compliance with requirements, provide products by one of the following:

AUTOMATIC SYSTEMS, 22 rue du 8 mai 1945, 95340 Persan, FRANCE

- Homepage : www.automatic-systems.com E-mail : asmail@automatic-systems.com

Products:

** NOTE TO SPECIFIER ** Delete the following subparagraphs in brackets, retain the product that is appropriate to the project

[Rising barrier for parking areas, Model ParkPlus 100]

[Articulated rising barrier for parking areas, Model ParkPlus 101]

  - CONSTRUCTION

        - Operator frame

Frame must be manufactured in anodized aluminum.

** NOTE TO SPECIFIER ** Standard color is white (RAL 9010). It is possible to configure (for free) the color of the panels according to these colors: Orange, Red, Anthracite grey.

Delete the following subparagraphs in brackets; retain the color that is appropriate for the project.

Housing panels

Three (3) housing panels must be manufactured in aluminum,

White lacquered (RAL 9010).

[Orange lacquered (RAL 2000).]

[Traffic Red lacquered (RAL 3020).]

[Anthracite grey lacquered (RAL 7016).]

Access panels

The top and side panels must be removable to allow easy access to both the electro-mechanical drive and electronic control units.

Top cover must be key-locked.

Arm

Left or right mounted arm,

** NOTE TO SPECIFIER ** Oval aluminum arm is the standard for the rising barriers ParkPlus 100. Oval aluminum articulated arm is the standard for the rising barrier ParkPlus 101.

Delete the following subparagraphs in brackets; retain the product that is appropriate for the project.

[To be oval and manufactured from aluminum (section of 80 x 54 mm with maximum 4m length), lacquered white with red reflective strips],

[To be oval and articulated, manufactured from aluminum (section of 80 x 54 mm with maximum 4m length), lacquered white with red and reflective strips]

[To be oval and manufactured from aluminum (section of 80 x 54 mm with maximum 4m length) with a swing-off device included the swing-off detection device and lacquered white with red reflective strips.]

[To be oval and articulated, manufactured from aluminum (section of 80 x 54 mm with maximum 4m length) with a swing-off device included the swing-off detection device and lacquered white with red reflective strips.]

Enclosure

Design of the unit’s enclosure shall ensure an IP 55 degree of protection

  - DIMENSIONS

        - Arm length:

The arm length for equipment must be 2m to 4m.

The arm shape for equipment must be 80 mm x 54 mm.

Operator dimensions:

Overall dimensions of ParkPlus 10X operator:

Height: 1066 mm

Footprint: Ø 385 mm

Rotation axis height

925 mm

  - OPERATION

        - Automatic mode (arm Normally Closed & Controlled by a loop or access control device):

Command to barriers. In stand-by position, the passageway must be blocked by the arm.

Upon receipt of a signal from the access control system or the inductive loop, the arm must open, freeing the passageway.

The obstacle immediately closes after passage or after a configurable delay.

Power Failure

** NOTE TO SPECIFIER ** In case of power failure, the barrier can be open automatically as a standard. It is possible to configure it to be open manually (fro free). For an additional cost, a mechanical holding arm position can block the movement of the arm as options.

Delete the following subparagraphs in brackets if no optional material is required, or retain the material that is appropriate for the project.

In case of power failure, the barrier can be open automatically.

[In case of power failure, the barrier can be open manually.]

[In case of power failure, the arm can be blocked automatically by an electromechanical holding.]

After the power has been restored, the unit must return to its previous operating mode.

Emergency Operation

The unit can be set to remain open upon receiving an emergency signal. The obstacle opens and allows unobstructed exit / entrance.

This operating mode continues as long as the emergency signal is active.

After the emergency signal has been turned off, the unit must return to its previous operating mode.

  - SECURITY

        - Must provide operator and arm to securely block the passageway:

        - Must remain the closed position by sending power when the arm is open manually by fraud.

        - The cabinet’s side panels and top cover must be key-locked.

  - SAFETY

        - In case of emergency or power failure, the operator must allow opening / closing automatically, or be set for manual opening.

        - Must provide minimum 2m wide passageway.

        - Passage can be monitored in both directions by means of a loop detector, infrared beams, or other means of monitoring, to ensure user safety and prevent arm from closing when a vehicle is crossing the passageway:

          - If a presence is detected in the obstacle safety area during the opening motion, the arm will complete its opening.

          - If a presence is detected in the safety area during a closing motion, the arm can be set to either immediately re-open depending on the selected mode. The obstacle will operate again after the safety zone has been cleared

        - The arm controller motor must have a provision for an entrapment protection device that automatically reverses the movement whenever the arm strikes an object during a closing action.

        - The operator must be equipped with an analog sensor for precise arm position detection.

  - VEHICLE GUIDANCE

        - Visual notification with clear graphics can be incorporated in each direction to control flow and to warn users.

  - DRIVE UNIT

        - Reversible three-phase asynchronous geared motor. Maintaining the arm in its 2 extreme positions is achieved by the frequency converter.

        - Drive shaft, diameter 30 mm, fitted on a geared motor and a lifetime lubricated bearing.

        - Frequency converter ensuring progressive accelerations and dampened decelerations, for safe movement without vibrations, reversal of direction without jolts and increase protection of the mechanism.

        - Balancing of the arm by means of a compensating spring, according to the weight of the arm.

        - Electronic torque limitation.

  - CONTROLLER

        - Microprocessor-based controller with the following characteristics:

          - IP communication interface

Embedded web server, accessible by a web browser, to monitor the barrier in real time, set operating modes, advanced parameters and to provide diagnostics for quick detection of problem source

IP communication interface for extended settings and functions

        - The logic must be equipped with:

          - LED indicators showing the status of the inputs and outputs,

          - Digital inputs,

          - Output relays, digital outputs.

          - The logic must be equipped with one (1) loop detector connector when loops are used as safety or to control the barrier opening/closing.

          - The barrier operator may be equipped with an extension module that adds a loop detector connector, digitals inputs and output relays.

        - The controller must have equipment diagnostic capability and the ability to be configured:

          - The Human Machine Interface.

          - The diagnostic software must be web based and embedded in the controller,

          - The embedded diagnostic software must be accessible by a web browser from any device,

          - The diagnostic software must provide the following features:

            - Real time monitoring of the barrier,

            - Operating modes and advanced parameters setting,

            - Quick detection of problem source and trouble notification with the unit.

  - POWER SUPPLY

        - Power supply:

** NOTE TO SPECIFIER ** 230 Volts AC 50/60 Hz is the standard power supply. For an additional cost, 120 Volts AC 60 Hz is available as an option in brackets.

Delete the following subparagraphs in brackets if no optional material is required, or retain the material that is appropriate for the project.

230 Volts AC 50/60 Hz

[120 Volts AC 60 Hz]

Consumption in operation:

At rest : 44W maximum

Peak : 250W maximum

  - PERFORMANCES

        - Opening Time & Closing Time

The obstacle opening time: 1,2 to 3 seconds

The obstacle closing time: 1,2 to 3 seconds

Operating Temperatures: -10 to +60 degrees Celsius

MCBF: 5.000.000 average number of cycles between breakdowns, when respecting manufacturer’s recommended maintenance

  - OPTIONAL EQUIPMENT

** NOTE TO SPECIFIER ** Delete the following subparagraphs in brackets if no optional equipment is required, or add as necessary.

[Rubber protection profile]

[Standard tip support – fixed height 830 mm]

[Height adjustable tip support]

[Electromagnetic tip support]

[Electrolocked tip support]

[Hood & door intrusion information]

[Push buttons box for opening-closing]

[Radio Transmitter/Receiver]

[Presence detector for detection loop]

[Vehicle detection loop]

[Photoelectric cell for opening-closing-safety]

[Cell assembly on housing]

[Cell support post]

[Ultrasonic detector under arm]

Ethernet interface]

[Extension card for inputs, outputs and Presence detector connector]

[Totaling counter]

[LED function pictograms on hood (red, green and orange)]

[Arm LED lighting]

[LED traffic lights]

[Support post for traffic lights]

[Aluminum composite traffic sign, 300 mm diameter]

[Paint of another RAL color (other than standard colors)]

[Raised base]

[Thermostatic heater for operation down to -45°C]

## PART III – EXECUTION

  - INSPECTION

        - Installer must examine the installation location and advise the Contractor of any site conditions inconsistent with proper installation of the product. These conditions include but are not limited to the following:

          - Rising barrier for parking area operator must be installed on a level concrete pad,

          - Power supply and control wiring must be installed. Follow manufacturer’s recommendations.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

  - INSTALLATION

        - Install rising barrier in strict accordance with manufacturer’s instructions. Set units level. Anchor securely into place.

  - ADJUSTMENT

        - Installer must adjust rising barrier for proper performance after installation.

  - INSTRUCTION

        - A factory trained installer must demonstrate to the owner’s maintenance crew the proper operation and the necessary service requirements of the equipment, including exterior maintenance.

  - CLEANING

        - Clean barrier operator and area carefully after installation to remove excess caulk, dirt and labels.

  - MAINTENANCE

        - Maintain the equipment according to the manufacturer’s instructions.

Automatic Systems reserves the right to change this specification at any time without notice.

END OF SECTION